## Sheet1
Step 1: Calculate the total energy requirement of this small nation
| Population | Peak demand per person (kW) | Total demand requirement (kW) | Total Demand requirement (MW)
| 1000000 | 0.78
Step 2: Calculate the cost per available MW for each Technology Type
Note that the total demand must be met by available MW
| Technology | Availability | Total Power (MW) | Available Power (MW) | Total Cost | Cost per Available MW | Ranking (by cost)
| Biomass | 90% | 50 |  | 100000000
| Cogeneration | 90% | 400 |  | 400000000
| Coal life extension | 90% | 600 |  | 400000000
| Waste Burning | 80% | 5 |  | 10000000
| Geothermal | 90% | 100 |  | 600000000
| Nuclear | 90% | 1000 |  | 1200000000
| Large Scale Solar | 40% | 1 |  | 2000000
| Concetrated Solar | 40% | 1 |  | 3000000
| Conventional Solar (Rooftop) | 20% | 0.5 |  | 500000
| Wave Power | 50% | 1 |  | 5000000
| Hydro (Dams) | 80% | 50 |  | 100000000
| Small Scale Onshore Wind | 20% | 0.05 |  | 250000
| Large Scale Onshore Wind | 40% | 3 |  | 3000000
| Offshore Wind | 50% | 3 |  | 4000000
Step 3 - Prepare a Suitable Energy Mix
| Restrictions |  |  |  | Your Proposal
| Technology | Limit (Total MW) | Availability % | Available Limits (Limit x Availability) (MW) | Potential Energy Mix (Available MW) | Cost per Available MW (per Step 2) | Cost of Potential Mix (Avble. MW x £/Avble. MW)
| Biomass | 200 | 90% | 0
| Cogeneration | 400 | 90% | 0
| Coal life extension | 600 | 90% | 0
| Waste Burning (can sustain up to 4 plants) | 10 | 80% | 0
| Geothermal | 100 | 90% | 0
| Nuclear | 1000 | 90% | 0
| Large Scale Solar (data per array) | 50 | 40% | 0
| Concetrated Solar (data per array) | 50 | 40% | 0
| Conventional Solar (Rooftop; data per array) | 20 | 20% | 0
| Wave Power (data per device) | 200 | 50% | 0
| Hydro (per dam - 3 potential sites available) | 100 | 80% | 0
| Small Scale Onshore Wind (data per turbine) | 150 | 20% | 0
| Large Scale Onshore Wind (data per turbine) | 150 | 40% | 0
| Offshore Wind (data per turbine) | 100 | 50% | 0
|  |  |  | Total MW |  | Total Cost